## Slide 1
Integrating AI Models in Flutter - Part 2

## Slide 2: Aim
Part 1
Build a 30-minute glucose prediction model
Part 2
Integrate the model in a Flutter app

## Slide 3: Recap: What we built in Part 1
Data preparation
  ReplaceBG clinical dataset (~226 T1D patients, CGM every 5 min)
  Patient-level 80/20 train/test split to avoid data leakage
  Target: Y[t] = CGM[t+6] (30 minutes ahead)
Feature engineering
  Feature 1 – Current CGM value (mg/dL)
  Feature 2 – Rate of Change: ROC[t] = (CGM[t] − CGM[t−3]) / 15
Model training & export
  sklearn pipeline: StandardScaler + LinearRegression
  Exported to cgm_forecast.json → ready to bundle with the Flutter app

## Slide 4: Our model
Learned prediction formula
  Y = 58.40 * (CGM - 159.70)/64.55 + 11.84 * (ROC + 0.001)/0.952 + 159.66
  Y = 0.905*CGM + 12.44*ROC + 15.21
  ROC coefficient is positive: rising glucose → higher future value

## Slide 5: Prepare the App
Create the project
Key source files
  lib/main.dart – app entry point
  lib/models/glucose_predictor.dart – model class
  lib/screens/homepage.dart – UI
Bundle the model
  Place cgm_forecast.json in assets/
  Declare in pubspec.yaml → loaded offline at runtime
predict_glucose_app/
assets/
cgm_forecast.json
lib/
main.dart
models/
glucose_predictor.dart
screens/
homepage.dart
# pubspec.yaml
flutter:
assets:
- assets/cgm_forecast.json

## Slide 6: Step 1: The GlucosePredictor Class
Class overview
  Encapsulates model loading and inference
  Holds four parameters parsed from JSON:
  _mean, _scale, _coef, _intercept
Two methods
  load() – async, reads & parses the JSON asset
  predict(cgm, roc) – runs scaled inference
Design choice
  No sklearn dependency needed on the device
  Pure Dart → fast, offline, zero dependencies
class GlucosePredictor {
late List<double> _mean;
late List<double> _scale;
late List<double> _coef;
late double _intercept;
Future<void> load() async { ... }
double predict(double cgm,
double roc) { ... }
}

## Slide 7: Step 2: Loading the Model
Use rootBundle to read the bundled JSON asset
Decode with jsonDecode → standard dart:convert
Store lists as List<double> for type safety
Called once before first prediction
Future<void> load() async {
final String raw = await rootBundle.loadString('assets/cgm_forecast.json');
final Map<String, dynamic> json = jsonDecode(raw);
_mean = List<double>.from(json['mean']);
_scale = List<double>.from(json['scale']);
_coef = List<double>.from(json['coef']);
_intercept = (json['intercept'] as num).toDouble();
}

## Slide 8: Step 3: Running Predictions
Mirrors the sklearn pipeline exactly
StandardScaler: x_s = (x − mean) / scale
Linear regression: y = coef·x_s + intercept
Returns predicted glucose in mg/dL (30 min ahead)
double predict(double cgm, double roc) {
final double cgmScaled = (cgm - _mean[0]) / _scale[0];
final double rocScaled = (roc - _mean[1]) / _scale[1];
return _coef[0] * cgmScaled + _coef[1] * rocScaled + _intercept;
}
Y = 0.905·CGM + 12.44·ROC + 15.21
RMSE ≈ 20 mg/dL on held-out test patients

## Slide 9: Step 4: Building the UI
Widget: StatelessWidget
  Simple, no local state needed
Two TextFormField inputs
  CGM (mg/dL) – decimal, unsigned
  ROC (mg/dL/min) – decimal, signed
One ElevatedButton
  Async onPressed: load → predict → show
Result in a SnackBar
  “Predicted glucose in 30 min: X mg/dL”
onPressed: () async {
final double? cgm =
double.tryParse(_cgmController.text);
final double? roc =
double.tryParse(_rocController.text);
final predictor = GlucosePredictor();
await predictor.load();
final double pred =
predictor.predict(cgm!, roc!);
ScaffoldMessenger.of(context)
..showSnackBar(SnackBar(
content: Text('${pred.toStringAsFixed(1)} mg/dL'
)));
}

## Slide 10: Run it!
End-to-end data flow
  User enters CGM and ROC values → button tap → load() → predict() → SnackBar result
  Example: CGM = 120 mg/dL, ROC = −0.5 mg/dL/min
  → Predicted glucose in 30 min: ≈ 101.5 mg/dL
Run the app
  Works fully offline – no server, no network required
  Inference is instant: pure arithmetic, no GPU needed

## Slide 11: Putting It All Together
Python
Train & export model
→
JSON
cgm_forecast.json
→
Dart
GlucosePredictor
→
Flutter UI
Prediction result
Key takeaways
  The model was built in Python but runs entirely in Dart — no interop needed
  JSON is the portable “bridge” between the ML world and the mobile world
  This pattern scales to any model that can be expressed as a formula
  More complex models → use TFLite or ONNX runtime on the device

## Slide 12: Open Discussion: What’s Next?
Connect to a real CGM
  Read live BLE data from a Dexcom or FreeStyle Libre
  Use the flutter_blue_plus package
Continuous background prediction
  Run inference every 5 minutes via a timer
  Auto-compute ROC from the last two CGM readings
Proactive hypoglycemia alerts
  Push notification if predicted glucose < 70 mg/dL
  Use flutter_local_notifications
Visualize the forecast
  Plot glucose history + predicted point on a chart
  E.g. using the fl_chart package
Upgrade to a deep learning model
  Train an LSTM or transformer in Python
  Export to TFLite or ONNX → run on-device with tflite_flutter
Personalize the model
  Fine-tune on individual patient data
  On-device federated learning, privacy preserved